## Resonance Calculation
|  |  |  | 10.48 | mH
|  |  |  | 4.4 | nF
in | out | ud | uf
9.63 | 8.31 | 1.32 | 0.44
11.67 | 10.31 | 1.36 | 0.45333 | C[nF] | f0[kHz] |  | L[mH]
13.11 | 11.74 | 1.37 | 0.45667
13.8 | 12.4 | 1.4 | 0.46667 | 2.2 | 116 |  | 0.85566
14.66 | 13.28 | 1.38 | 0.46 | 4.4 | 79 |  | 0.92243
|  |  |  | 22 | 20 |  | 2.8784
|  |  |  | 0.01 | 500 |  | 10.1321 | with no cap…
|  |  |  | 138 | 0.70795
97.6965
4.381
[5 empty] | 4.2429 |  | 2.0494

## Preamp_bandwidth
3dB Bandwidth Measurement for SAQ pre-amp
Setup |  |  |  |  | Uppin[mV] | 0
[5 empty] | Uppin[dBm] | #NUM!
Arbitrary waveform generator (AWG) connected directly to primary winding instead of antenna. | [7 empty] | 3dB line
Oscilloscope connected to preamp output - it measures preamp output voltage accross 1k load resistor, which is part of the curcuit | [6 empty] | f [kHz] | f [kHz] | Uppout[V]
[7 empty] | 16 | 1 | 1.7417
[7 empty] | 17 | 100 | 0
Measurement Procedure | [6 empty] | 17.1
[7 empty] | 17.2 | max line
It is assumed that preamps input LC tank is already tuned to 17.2kHz, i.e. circuits max. observed output voltage is seen at around this frequency | [6 empty] | 18 | 1 | 0
[7 empty] | 20 | 100 | 0
1. Set AWG according to below settings | [6 empty] | 22
output impedance:50ohm |  |  | to avoid impacting resonance frequency by waveform generator, it must be connected via 100k resistor |  |  |  | 24
center frequency: 17.2kHz | [6 empty] | 26 | f0
output amplitude: (-42dBm/4mVpp) |  |  |  | measured at the generator output with the scope |  |  | 28 | 17.2 | 0
[7 empty] | 30 | 17.2 | 2.6
2. Take a output voltage reading at center frequency | [6 empty] | 32
[7 empty] | 40 | fmin
3. Calculate coresponding -3dB voltage level | [6 empty] | 50 | 9.4 | 0
[7 empty] | 60 | 9.4 | 1.9
4. Shift frequency to the left until output voltage drops by 0.708 of its maximum value (-3dB) and take a reading U1out(-3dB)[V] and fmin [kHz] | [6 empty] | 70
[7 empty] | 80 | fmax
5. Shift frequency to the right until output voltage drops by 0.708 of its maximum value (-3dB) and take a reading of U2out(-3dB)[V] and fmax [kHz] | [6 empty] | 90 | 32 | 0
[7 empty] | 100 | 32 | 1.9
6. Calculate bandwidth of preamp as BW = fmax - fmin [kHkz]
During measurements make sure that AWGoutput voltage stays constants for all measurements
#REF!
[9 empty] | #REF! | 14.8
3dB line
C1 | 8.2 | nF | [5 empty] | f [kHz] | A[dB]
C2 | 0 | nF | [5 empty] | 1 | -3
L | 10.35 | mH | [5 empty] | 100 | -3
f0 | 17275.9934 | kHz | [5 empty] | max line
[8 empty] | 1 | 0
[8 empty] | 100 | 0
f0
[8 empty] | 17.2 | 0
[8 empty] | 17.2 | 55
fmin
[8 empty] | 9.4 | 0
[8 empty] | 9.4 | 55
fmax
[8 empty] | 32 | 0
[8 empty] | 32 | 55